# Product Description

Polyester Solutions Polysorb 1 is a flexible insulation blanket manufactured from thermally bonded polyester fibre, with a high percentage of recycled fibre. Polysorb 1 provides both thermal and acoustic insulation, and is manufactured to comply with AS/NZS 4859.1

# Applications

Polysorb 1 is ideal for applications over ceilings, partition walls, other wall assemblies and Curtain wall applications. Polysorb 1 will assist in reducing sound transmission through building assemblies and provides excellent sound absorption when used as an overlay product.

Standard Sizes and Packaging

| Other sizes can be made to order |
| --- |
| Nominal Thickness (mm) | Length (m) | Width (mm) | Number per pack |

25	15	1200		1

50	10	1200		1

75	8	1200		1

100	6	1200		1

Acoustic performance

Acoustic Performance ISO 354:2003 Acoustics -- Measurement of sound absorption in a reverberation room

| Product 125 Hz 250Hz 500Hz 1000Hz 2000Hz NRC 25mm 0.12 0.39 0.65 0.76 0.83 0.65 50mm 0.28 0.60 0.83 0.91 0.91 0.80 75mm 0.40 0.81 0.98 0.96 0.98 0.95 100mm 0.53 0.98 1.09 1.00 1.02 1.00 |
| --- |
| Thermal performance Thermal ratings are based on testing in accordance with AS/NZS 4859.1 at 23ºC mean temperature. |
| Product | R-Value m2K/W |
| Polysorb 1 Plain 25mm | R 0.6 |
| Polysorb 1 Plain 50mm | R 1.2 |
| Polysorb 1 Plain 75mm | R 1.9 |
| Polysorb 1 Plain 100mm | R2.5 |

# Fire Resistance

When tested in accordance with AS1530.3 (1999), “Early Fire Hazard Properties of Materials”, PSB exhibit the following characteristics:

Ignitability Index			0

Spread of Flame Index		0

Heat Evolved			0

Smoke Developed Index		0 - 3

# Moisture Resistance

Exposure to an atmosphere of 50˚C and 95% relative humidity for 4 days results in less than 0.2% by vol moisture absorption.

# Maximum Service Temperature

The maximum temperature to which Polyester Solutions Polysorb 1 should be exposed in service is 150˚C.

# Environmental and Health Benefits

Recycled Fibre Content	80% minimum Volatile Organic Compounds (VOC’s)	No harmful VOC’s Formaldehyde Content	Nil

Phenol   Content	Nil

Ammonia   Content	Nil

Ozone Depleting Potential (ODP)	Nil Chloride     Content	Nil

Total Recyclable Content	100%

How to Specify

The insulation material shall be Polyester Solutions Polysorb 1 25mm, 50mm, 75mm, 100mm as manufactured by Polyester Solution. For walls, the product shall be fitted in one piece per stud opening to fill the entire area.

General Installation Advice

Polyester Solutions Polysorb1 is safe and easy to install in walls or ceilings. Polyester Solutions Polysorb 1 products are easily torn across the width of the products or if required can be cut with a pair of industrial scissors, shears or serrated knife (type Swibo with half moon head. Use safety mesh gloves.) For higher density products use a rotary cutter made to cute textiles (brand type Elizabeth Lightning cutters). Off cuts can be used to fill corners, crevices and gaps, eliminating any waste. For walls, the insulation is placed between the wall studs or furring channels before the plasterboard is put in place. If required, string/strap insulation to secure it into position. No special clothing, gloves or masks required for installation. Allow up to one month for products subjected to compression packing to recover to their nominal thickness

# Testing

All testing was conducted in a laboratory situation. On site results may vary due to site conditions and quality of installation. Thermal testing is done in accordance with AS/NZS 4859.1(Materials for the thermal insulation of buildings - General criteria and technical provisions) and acoustic testing in accordance with ISO 354:2003 Acoustics -- Measurement of sound absorption in a reverberation room. As these products are constantly being researched and developed, we reserve the right to update these specifications without notice.